# STAGE 4 – ACCESSORIES

# A1.1.3B6.000.3.XXX

Version 4.0 – January 2023

| Description: |  |
| --- | --- |
| Connector Lead for Power/Lighting Circuits |  |
| 3 Core x 2.5mm² |  |
| Low Fire Hazard (XLPE) Cable |  |
| Cable Colour: | Black |

Please read instructions before commencing installation and retain for future reference.

Technical Specification:

| Material: | Connector: |
| --- | --- |
|  | PA66 + 25% GF UL-94 V0 (S/N 704872-1) |
|  | PA66 unfilled UL-94 V2 (S/N 1573372-1) |
| Connector Dimensions: | 43.45mm (L) x ø 19mm (W) |
| Cable Insulation: | HFS-90-TP Sheath (BK) |
| Cable Rating: | 450/750V to AS/NZS 5000.2 |
| Minimum Bending Radius: | Fixed: 60mm |
|  | During Installation: 90mm |
| Overall Cable Diameter: | 10.1mm |
| Maximum Operating Temperature: | 90°C |
| Enclosure Class: | IP20 |
| Rated Current (A): | 20A |
| Power Outputs: | 4 Pole (3 Wire) |
| Rated Voltage (V): | 240V |
| Frequency (Hz): | 50Hz |
| Wire Size (mm²) | 2.5mm² |
| Weight: | 178g (based on 1m) |
| Wiring & Test Standard: | AS/NZS 3000 |
| Connector Coupler Standard: | AS/NZS 61535:2011 |